B3 Fertiliser Testing & Development Laboratory
Initial Setup Note

Objective

The purpose of this laboratory is not to create a highly sophisticated research facility initially. The goal is to build a practical and reliable working lab that helps us:

• Test incoming and outgoing material consistently
• Standardise B3 fertiliser batches
• Improve formulations over time
• Develop nutrient-enhanced Stage 2 products
• Support carbon credit documentation and quality control
• Carry out basic R&D and field validation
• Build a scientifically strong and commercially scalable product

The lab should therefore be:
• Practical
• Low-cost
• Operationally useful
• Easy to run
• Scalable over time

The lab will primarily work with:
• Biochar
• Biochar + manure blends
• Nutrient-charged biochar systems
• Future enhanced fertiliser formulations

- Core Parameters We Need To Test

A. Physical Parameters
• Moisture
• Particle size
• Bulk density
• Visible contamination

B. Chemical Parameters
• pH
• EC (Electrical Conductivity)
• Organic Carbon
• Nitrogen
• Phosphorus
• Potassium
• Ash content
• C:N ratio

C. Biological / Functional Parameters
• Compost maturity
• Odour / anaerobic condition
• Basic microbial activity indicators
• Stability of cured material

D. Production Consistency Parameters
• Batch consistency
• Input-output tracking
• Comparison between formulations

- Tests We Should Do In-House Initially

The following tests should be done internally on a regular basis:

• Moisture
• pH
• EC
• Bulk density
• Particle size
• Ash content
• Basic NPK
• Organic Carbon
• C:N ratio

These tests are sufficient initially to:
• Maintain consistency
• Improve formulations
• Compare batches
• Track performance trends

- Tests That Can Be Outsourced Initially

The following tests can be done periodically through external laboratories:

• Heavy metals
• Advanced microbial analysis
• CEC (Cation Exchange Capacity)
• Carbon permanence/stability
• PAH testing
• Carbon credit validation testing

- Minimum Equipment Required

A. Basic Analytical Equipment
• Precision weighing balance
• Moisture oven
• Muffle furnace
• pH meter
• EC meter
• Hot plate with stirrer
• Water bath
• Basic spectrophotometer/colorimeter
• Kjeldahl digestion + distillation setup (for Nitrogen testing)
• Glassware and titration setup

B. Sample Preparation
• Small grinder/pulveriser
• Sieves
• Drying trays
• Sample splitter
• Sample storage containers

C. Utilities
• RO/distilled water system
• Chemical storage cabinet
• Ventilation/fume extraction
• Wash station
• Basic power backup for sensitive equipment

- Optional Equipment For Future Expansion

As the product line and production scale grow, the following can be added later:

• Flame photometer (for Potassium testing)
• Better UV spectrophotometer
• Small incubator
• Conductivity bench setup
• Digital data logging system

- CHN Analyser

A CHN analyser is not essential at the current stage.

It is expensive and mainly useful for:
• High precision carbon analysis
• Advanced carbon credit work
• Detailed R&D

The focus right now should be:
• Product consistency
• Nutrient optimisation
• Batch quality control

- How The Lab Should Function

This lab should operate as:

• A formulation lab
• A process control lab
• A production consistency lab

The focus should remain on:
• Repeatability
• Field performance
• Nutrient optimisation
• Stable production quality

- Batch Testing & Record Keeping

Every production batch should ideally record:

• Date
• Batch number
• Feedstock source
• Kiln number
• Biochar quantity
• Manure source
• Additives added
• Moisture
• pH
• EC
• Organic carbon
• Basic NPK

Representative samples from each batch should be retained for records and future comparison.

- Stage 2 Development

As B3 evolves into a nutrient-enhanced system, the lab will increasingly support:

• Nutrient charging validation
• Microbial inoculation validation
• Curing optimisation
• Moisture management
• Phosphorus loading
• Nitrogen balancing
• Comparison between formulations

The long-term objective is not just to produce compost or manure blends.

The objective is to develop:
“A standardised carbon-based nutrient system for large-scale soil restoration.”

- Most Important Principle

The success of B3 will depend much more on:

• Consistency
• Repeatability
• Formulation discipline
• Field validation

than on expensive laboratory infrastructure.

The lab should therefore prioritise:
• Reliable testing
• Operational usefulness
• Product improvement
• Production integration